## Sheet1
ANNEXURE - D
Call Letter No: HBL/INSP/RDSO/PLW/PG/20Sets/26-27/02 Dt: 08.06.2026
Calibration Details of Testing & Measuring Equipment's
S.No | Name of Equipment | Make /Model no. | Range/Least Count | Calibrated By | Certificate No. | Date of Callibration | Due date of Calibration
1 | Digital vernier Caliper | Mitutoyo/CD- 12"AX | 0-300mm/0.01mm | M/s. Truecal Technologies LLP | CC No: TC/25- 26/2526 06 | 2026-02-24 | 2027-02-23
2 | Digital Tachometer | Extech Instruments/ RPM33 | 2 to 99,999 rpm | M/s. Truecal Technologies LLP | CC No: TC.24- 25/2145 16 | 2025-02-22 | 2026-02-21
2 | PG Testing Machine | HBL | 100 to 1200 RPM | M/s. Excel Calibration Pvt Ltd | CC No. ECPL/25/MP /S159-01 | 2026-03-28 | 2027-03-27
3 | AC/DC IR Hipot Tester | Chroma & 19073 | (AC) 0-5KV (DC) 0-6KV (AC) Current: 0-20mA (DC) Current: 0-5mA IR : 0.1MΩ- 50GΩ | M/s. Truecal Technologies LLP | CC.No.TC/25- 26/4411 15 | 2025-09-17 | 2026-09-16
4 | Universal Bevel Protractor | Mitutoyo/ 187-901 | 0-360° | M/s. Truecal Technologies LLP | CC.No.TC/25- 26/1290 13 | 2025-09-19 | 2026-09-18