## Sheet1
ANNEXURE-D
Call Letter No: HBL/INSP/RDSO/BPL/EL/KAVACH/PG/25-26/06 Dt: 27.06.2025
Calibration Details of Testing & Measuring Equipment's
S.No | Name of Equipment | Make /Model no. | Range/Least Count | Calibrated By | Certificate No. | Date of Callibration | Due date of Calibration
1 | Digital vernier Caliper | Mitutoyo/CD- 12"AX | 0-300mm/0.01mm | M/s. Truecal Technologies LLP | CC No: vTC/24- 25/2145 19 | 2025-02-24 | 2026-02-23
2 | Digital Tachometer | Extech Instruments/ RPM33 | 2.0 to 9999.9 rpm | M/s. Truecal Technologies LLP | CC No: TC.24- 25/2145 16 | 2025-02-22 | 2026-02-21
3 | PG Testing Machine | HBL | 100 to 1200 RPM | M/s. Excel Calibration Pvt Ltd | CC No. ECPL/25/MP /S144-01 | 2025-04-07 | 2026-04-06
4 | AC/DC/IR HIPOT Tester | Chroma & 19073 | (AC) 0-5KV (DC) 0-6KV (AC) Current: 0-20mA (DC) Current: 0-5mA IR : 0.1MΩ- 50GΩ | M/s. Truecal Technologies LLP | CC.No.TC/24- 25/432456 | 2024-09-20 | 2025-09-19
5 | Universal Bevel Protractor | Mitutoyo/ 187-901 | 0-360° | M/s. Excel Calibration Pvt Ltd | ECPL/24/MD /L0820-01 | 2024-09-24 | 2025-09-23